Design Brief – Weighing Scale

The product is a weighing scale designed for people who want to keep track of their bodyweight and monitor their health. It must be simple to use while still being efficient in order to maximise the target market.

It uses a TAL220 Parallel Beam Load Cell [1] to measure the weight, and a HX711 Load Cell amplifier [2] – since Load Cells make small signals that cannot easily be detected by the Arduino, and the HX711 converts this analogue signal to a digital one. The weight on the scale will be displayed to the user using an LCD.  The Arduino will be powered by a 9-volt battery.

The product shall:

- Read and display the weight placed on the scale.

- Have an indicator to show low battery.

- Have an indicator to show overload weight.

The product should:

- Have an LED indicator to indicate power to the circuit.

- Have a BMI calculator (user somehow enters height).

- Have Permanent Storage (Cloud Storage?)

Existing Products:

The RENPHO Digital Bathroom Scales are designed to weigh loads of up to 180kg for £12.29. It has no additional features such as BMI calculating or an LED indicator to show that it is on.

On the other end of the spectrum, the INSMART Bluetooth Scales are much more complex. For £23.59, it has many additional features such as bone and muscle mass calculators as well as BMI calculator. This can all be viewed in an app that the user can download. The problem is that this increased complexity sacrifices ease of use and therefore inclusivity – as many people will not know how to connect the scales to the app. Additionally, many of these features will not be used by most people.

The weighing scale we are designing must be somewhere between these two complexities to make it intuitive and effective.

References

[1] SEN-13329 | Sparkfun TAL220 Series Parallel Beam Load Cell, 3 → 200kg Range, Compression Measure, 1000Ω | RS

[2] HX711 24-Bit ADC Pinout, Datasheet, Interfacing Examples, Applications